MS Facility FAQs

1. How to get my samples analyzed in your facility?

For submitting the sample first you need to login into MS-facility sample submission online form (please register if you are not a user). Please raise a request and fill-in all the possible details. The more details you provide us, the more helpful we can be. Once you fill the form we will get back to you about the feasibility of your request at our facility. Only after this point will we ask you to send the samples.

2. How do I send my samples?

We would accept centrifuge tubes of ‘Eppendorf’ make. The reason for this is that they provide least chemical background provided and minimum leaching is observed on the surfaces.

If your sample is a gel piece, then please send it immersed in MS grade/LC grade/Double distilled water through courier/post. You may also deliver it by person after contacting us and arranging a convenient time to meet facility personnel.

If your sample is in solution, please ensure you send it with dry ice when you are sending the same over post. We would not be in a position to help you with bad results obtained due to improper storage/transport of the samples.

If your sample is dried powder or pellet please contact facility personnel. It is important to contact us because sample may have problems related to dissolution depending on the way it was precipitated.

3. How should I submit the sample if I want in-solution digestion service?

We require the sample quality to be high for this particular service. We require minimum of 2-3 microgram of the protein suspended in 8-10 microleter of buffer. It is mandatory that the buffer in which you submit the sample, is free of any chemicals such as urea, triton-X, CHAPS, SDS or any other related chemicals. We can only accept your sample if all criteria are met.

4.  My sample is already with chemicals such as SDS, urea, CHAPS etc? How do I get rid of it?

We do not perform this under our services. We recommend the users to perform this before submission of the sample. Moreover, we are not experts in this, because it may vary from sample to sample and case to case. However, we have observed some of our users using some of the methods such as running a SDS-PAGE, passing through molecular weight cut-off columns, using some precipitation method (please perform this if you can re-dissolve the resultant pellet) etc.

5. How much sample should I send?

It depends up on the number and nature of analysis you are interested in. Ideally, molecular mass measurement using our Q-TOF MS requires minimum 3-4mg of total protein which is totally free of chemicals such as surfactants and salts etc. For gel separated proteins, we are OK with a gel piece which is faintly stained with coomassie.

6. To what address should I send the samples?

Please send your samples with proper cooling condition (if it is in buffer/solvent preferably send it with dry ice at -20 C. If it is power/gel piece at 4C) to following address:

Karthik S Kamath

C/O Dr.Dominik Schwudke

Mass spectrometry lab

National center for biological science (NCBS)

GKVK campus, Bellary road,Bangalore-560065

Please mention "Requires COLD STORAGE upon receiving" on the cover of the package.

7. How important is to provide species information?

Species information is at the heart of bottom-up proteomics work flow for identification of proteins of interest. Hence, if you know the species/genera/organisam please provide the info on the service requisition form. If you know but you are not able to share this information due to confidentiality issues, we would perform a general search of your results on Swissprot database and provide you the list of proteins. In case you are aware that the your protein is from an un annotated organism, please get back to us.

8. What is the use of gel picture and protein loading information?

We perform analysis of your samples over Nano-LC system which has a Nano-column and Chip based nano spray unit attached to it. The advantage of this system is, we need very minimal amount of sample. By keeping the system setup in mind, we do not overload the system with highly complex and highly concentrated samples either. This will hamper our system and your sample analysis too. An estimate of the sample load will help us to back calculate approximate amounts of sample to be loaded on the column. A gel picture is a secondary confirmation of the amounts. By looking at the stain intensity as well as bands we can get a gross idea about complexity of the sample. This will help us to judge and assign a better separation gradient for your sample.

9. Can I send my protein in powder form?

Yes, but make sure the sample is salt free. You would also need to provide information about the amount of sample you will send and its molecular weight. If your sample is dried pellet please contact facility personnel as sample may have problems related to dissolution depending on way it is precipitated.

10. Can I send silver stained gel?

We prefer Coomassie stained gels, but accept gels stained with MS compatible silver stain. Through our prior experience we have learned that silver stained gel pieces do not obtain better results in general than Coomassie-stained gels. This may be attributed to cross linking within proteins and with gel due to developing agents such as formaldehyde and glutaraldehyde etc used in the process. Even after this if you require the sample to be analyzed, kindly fill the form and get in touch with us. Whenever you fill a form for a silver stained band, please provide us the stain details with protocol followed for staining and de-staining.

11. I am a beginner with mass spectrometric analysis of sample. Can you please let us know, what is the principle of the whole analysis process?

Following are few review articles we would suggest you to read, which will help you to understand the mass spectrometry and proteomics.

- Mass spectrometry-based proteomics (PMID:12634793)

- Proteomics by Mass Spectrometry: Approaches, Advances, and Applications (PMID:19400705)

- The pros and cons of peptide-centric proteomics (PMID:20622832)

- Mass spectrometry based functional proteomics: from molecular machines to protein networks (PMID:17901870)

12. What is the turnaround time for a service?

It is a difficult question to answer. Generally, results from routine molecular mass measurement will be delivered within 1-2 days. The other processes such as in-gel digestion and protein identification will need minimum 1-2 weeks.

13. What are the fees for the services?

We follow different fee structures for internal academia, external academia and commercial users, the details of which are available from the C-CAMP website. The cost may also differ depending on particular research question you ask us to solve for you. See example service costs at FAQs16 and 17.

14. How will you deliver my data? Can I get my raw data files?
The data on mass measurement will be sent as PowerPoint slides and proteomics data will be sent as Excel sheets. About raw data, we prefer that data is not given out of our hands. If you feel it is very necessary under special circumstances, kindly get back to us and we will guide you through our policies of raw data sharing.

15. Should I acknowledge the facility in my publications and presentations?

It is mandatory to acknowledge the MS-Facility in your achievements. In case of companies or organization which provide the data to the third party, please check our website at http://www.ccamp.res.in/molecular-characterisation-proteomics.html for our Raw Data and Data Storage policy. It is a must to also formally acknowledge the facility in writing in the case of providing our report to a third party and also declare us as a preferred MS partner of your company/ organization.

16. How much does an ESI-MS analysis for intact measurement cost?

Academic – Rs. 1500 per sample plus Rs.1500 per hour for data analysis and report generation

Non-academic – Rs. 2175 per sample plus Rs. 2175 per hour for data analysis and report generation

17. How much does an in-solution or in-gel digestion followed by MS analysis cost?

Academic – Rs. 5000 per sample plus Rs.1500 per hour for data analysis and report generation

Non-academic – Rs. 7250 per sample plus Rs. 2175 per hour for data analysis and report generation